[image: image1.jpg]



WAHO REGIONAL POST MARKET SURVEILLANCE GUIDELINES FOR MEDICINES AND MEDICAL DEVICES
Table of Content





                                                              























































































Page Number
Acknowledgement…………………………………….………….………………………………………………………4
Acronyms………………………………………………….…….………………………………………………………….5
Definitions …………………………………………………….…….……………………………………………………..5
1. Introduction ………………………………………………….….…………………………………………………….7
1.1 Purpose of PMS Guidelines……………………………………….................................................8
1.2 Scope…………………………………………………………………………………………………………………….8
1.3Post Marketing Surveillance of Quality of Medicines……………..........................................9
2.0 Objective………………………………………………………………………………………………………………10
2.1 General Objective……………………………………………….…………………………………………………10
2.2 Specific Objective………………………………………………..………………………………………………..10
2.3 Main Frame ………………………………………………………………………………………………………….11
2.4 Management of PMS process ……………………………………..............................................11
2.5 Execution of Protocol……………………………………………………………………………………………..11
2.5.1. WAHO PMS Organogram ………………………………….................................................12
2.6.Training of Personnel on Requirements of PMS ………………………………………………………..12
3.0 Performing a surveillance study……………………………….................................................13
3.1 Protocol for surveillance ……………………………………..…………………………………………………16
3.2 Methodology………………………………………………….........................................................16
3.3 Selection of sites for PMS study…………………………………..............................................18
3.4 Selection of pharmaceutical products for PMS study……..…….......................................18
3.5. Selection of sample collection sites………………………………………………………………………..19
3.6. Sentinel site monitoring…….…………………………………..……………………………………………..21
3.7. Types of Sampling…………………..…………………………….................................................21
3.7.1 Convenience Sampling…………………………………………................................................22
3.7.2 Random sampling………………………………………………..................................................22
3.7.3 Stratified Sampling…………………………………………........................................................23
3.8 Sampling plans……………………………..……………………..………………………………………………..23
3.9 Number of dosage unit to be collected…………………………..….........................................24
4.0 Sample collection…………………………………………….……………………………………………………..25
Sampling validation

4.1 Sampling Tools/Materials…………………………………………………………………………………………28

4.2 Overt sampling versus mystery shopper approach………..............................................29
5.0 Storage and transportation of samples…………………………….........................................32
5.1 Normal Storage Conditions………………………………………….............................................32
5.6 Interpretation of Labeling of Storage Conditions………….………..…………………………………33
6.0 Testing…………………………………………………….……….....................................................33
6.1 Testing laboratory………………………………………….….……...............................................33
6.2 Tests to be conducted……………………………………….…..……...........................................35
6.3 Test methods and specification……………………………….……………………………………………...36
6.4 Receipt and testing of samples by a testing laboratory………..…….………………………………37
7.0 Data management and publication……………………………..……........................................38
8.0 Evaluation of Results……………………………………………………………………………………………..39
9.0 Report Preparation and Publication……………………………..…………………………………………..39
References …………………………………………………………………………………………………………………40
Annex 1: Example of the plan for PMS activities…….…...……….……......................................41
Annex II: Sample collection form………………………….……..…………………………………………………42
Annex III: Content of the Analytical Test Report/Certificate of Analysis…………………………………..53
Acknowledgement

Acronyms

	API 
	Active Pharmaceutical Ingredient 

	GMP

MAH

NMRA 


	Good Manufacturing Practice
Marketing Authorization Holder
National Medicines Regulatory Authority

	NGOs
	Non-Governmental Organization 

	WAHO 
NQAP
	West African Health Organization
National Quality Assurance Policy

	OOS
PCN
PMI
PMS
PPMV

PQM

QA 
SF

      SOP
      USP     
	Out of Specification
Pharmacist Council of Nigeria
Presidential Malaria Initiative
Post Marketing Surveillance
Proprietary Patent Medicine Vendors

Promoting the Quality of Medicines 

Quality Assurance

Substandard and Falsified 
Standard Operating Procedure

United States Pharmacopeial Convention                            


Definitions:
Post Marketing Surveillance (PMS): is a regulatory function of National Medicines Regulatory Authorities involving the assessment of safety and quality of pharmaceutical products throughout their shelf life and at all levels of the supply chain. PMS is meant to continuously monitor the quality, safety and efficacy of pharmaceutical products on the market at all levels of the supply chain.
Quality Control Laboratory: is a laboratory providing testing services that generates analytical data within a quality system framework to provide clients with an accurate and representative portrayal of a sample's constituents, enabling them to meet their regulatory and monitoring commitments. This includes medical diagnostic laboratories. 
Sample: means a pharmaceutical product or a medical device in given presentation (identified by its name, content of active pharmaceutical ingredient/s (API), dosage form, strength, batch number and manufacturer) collected at the specific location. It means that the same product characterized by the same name, content of APIs, dosage form, strength, and batch from the same manufacturer collected in two different sites represents two samples. Each sample must consist of the number of dosage units (e.g. tablets, capsules, ampoules, vials, bottles) required by the sampling plan. 
Overt Sample: means an obvious/ unconcealed pharmaceutical product, medicine, or device collected at a clear and open location.
Medicines: Medicines refers to pharmaceutical drugs or products 
Medicine or Pharmaceutical outlet: A medicine or pharmaceutical outlet means any point (licensed or unlicensed) of sale or a place where medicines are provided to individuals or other medicine providers.

Regulated Products: Regulated products refers to Medicines, medical devices and other health related products or as defined by the NMRA.
Sampling plan: A sampling plan contains detailed identification of sites where samples will be collected, medicines to be sampled, minimum number of dosage units to be collected per sample, number of samples to be collected per medicine, and total number of samples to be collected in the area for which the sampling plan is prepared. It contains also detailed instructions for sample collectors. 
Storage: means the storing
 of pharmaceutical 
products
 up
 to 
the 
point 
of
 use.

Storage
 temperature: 
The
 temperature 
range 
listed 
on
 the 
product 
label 
for proper 
storage. 

Transport: 
Is the process of  
moving 
samples of pharmaceutical
products 
between 
two
 locations 
without
 storing 
them.
Validation: 
Documented
 testing
 performed
 under 
controlled
 conditions, demonstrating 
that 
processes, 
methods 
and
 systems
 consistently 
produce results meeting predetermined acceptance criteria.
Vehicles:
 refers to suitable Trucks,
 vans, 
buses, 
minibuses, 
cars, 
trailers,
 aircraft, 
railway 
carriages, 
boats 
and
 other 
means 
which
 are 
used 
to 
convey samples of 
pharmaceutical
 products.
1.  Introduction

Post Marketing Surveillance (PMS) is a regulatory function carried out by National Medicines Regulatory Authorities in a country. It involves assessing products quality and safety to generate reliable scientific evidence required to take regulatory action to protect public health. It continuously monitors the efficacy, quality and safety of marketed products throughout their shelf life and at all levels of the supply chain. The dependency of regulatory systems on adverse event reporting alone may not capture all risks related to medicines and the use of medical devices.  

The quality of medicine is its level of suitability for intended use by the end user. It also means its ability to maintain its quality throughout the distribution chain. The quality characteristics of any medicine are its safety, potency, efficacy, stability and compliance with regulatory requirements such as labeling and product information leaflet. To ensure that quality of medicines is maintained/monitored while being distributed, the need for best practices in post marketing surveillance of Pharmaceutical products should be emphasized.
The regulatory activities that ensure the quality of medicines include:
·  Authorization/registration/licensing of medicines for marketing based on the assessment of safety, efficacy and quality.
· Inspection of manufacturers of the medicines for compliance with the principles of Good Manufacturing Practices (GMP); and approval of products’ information.
· Inspection of premises for the storage and distribution of medicines.
· Post-marketing surveillance/pharmacovigilance.
· Regular inspections of manufacturers, wholesalers/distributors/retailers and quality control/ testing laboratories;
· The analysis of samples of medicinal products.
· Regulation of advertising and promotion.
· Provision of independent information to healthcare providers, patients and the public.
· The quarantine, recall, and destruction of substandard and falsified medical products.
· Enforcement of medicines legislation.
1.1 Purpose of Guideline

The purpose of this guideline is to strengthen systems for effective Post Marketing Surveillance of medicines, and regulated products including medical devices to ensure that only quality and safe medicines and other regulated products are distributed throughout the West African sub-region. Effective implementation of PMS Guidelines will enable NMRAs generate scientific evidence on the quality and safety of medicines and medical devices for improved health outcome. It is important that WAHO sustains a high quality and scientifically credible safety and efficacy data on these vital health commodities to enhance evidence based decision making that impacts public health.
1.2 Scope: 
The PMS plan is designed to cover a wide range of medicines and regulated products marketed in West African sub-region in order to strengthen and improve their quality and safety. 
Ensuring that there is adequate funding is vital during the PMS planning.  In a situation where resources are limited, the PMS program can focus on medicines and parameters that pose higher risk to patients by applying risk analysis during the planning phase. Collaboration with relevant partners and sharing of resources including testing capacities, experiences and information can enhance the effectiveness of PMS program. 

1.3  Post Marketing Surveillance of Pharmaceutical products 

Post marketing surveillance provide an important source of information on the quality of Pharmaceutical products available in the market. The surveillance program must be organized in such a way that will involve stakeholders, international organizations, procurement agencies, NGOs or academic and research groups. The PMS programme must be able to respond to health priorities and challenges. It is impossible to test the quality of all registered products in the West Africa sub-region hence the need to prioritize Pharmaceutical products based on the perceived risk to the consumer. The information obtained from PMS activities are vital to enhance and maintain the quality assurance system.
Data collection on the quality of medicines, if properly executed, interpreted and used are vital for the planning of effective interventions that will improve the quality of medicines. The accuracy, reliability and interpretation of the data obtained will also depend on the PMS plan, method of sample collection, and available resources among others. Post marketing surveillance activities on the quality of medicines is costly, and available resources may restrict the number of samples to be collected, test parameters, techniques to be used for analysis, or number of staff available to conduct analysis of the sample.

Steps in PMS Planning
The steps in PMS planning include the following:
· Step1:    Preparation of PMS protocol

· Step 2:   Preparation of sampling plan 

· Step 3:   Training of sample collectors 

· Step 4:   Procurement of samples
· Step 5:   Sampling Validation
· Step 6:   Dispatch of samples to the laboratory
· Step 7:   Analytical screening of samples 

· Step 8:   Identification of  samples for confirmatory testing (Full monograph or relevant tests)
·  Step 9:  Collation and evaluation of result  of analysis  
· Step 10: 

· Step 11: Preparation of draft report of survey
· Step 12: Presentation of the draft report to relevant stakeholders

· Step 13: Preparation of final report              

· Step 14: Dissemination and Publication of report 
In order to sustain regular PMS activities in West Africa, NMRAs should establish a suitable and practical organizational structure that ensures execution of effective surveillance activities all year round. 
Steps 2 to 14 will be necessary for the continuous execution of PMS programme. 
2.0  Objective
2.1 General Objective
The main objective is to monitor the quality of medicines and ascertain their conformity with established specifications as declared in the registration dossier or recognized pharmacopoeial specifications.

This guideline therefore outlines the steps to consider when preparing and conducting surveillance on the quality of pharmaceutical products and other regulated products in West Africa.  
2.2  Specific Objectives
·  To establish the quality of medicines supplied by local and foreign manufacturers.
·  To establish the quality of medicines sold to patients by medicines outlets (public and private hospitals, wholesale and retail pharmacies and OTC outlets).

·  To estimate the proportion of counterfeit medicines available at different points of the regulated and informal distribution system.

·  To provide scientific evidence on the quality and safety of medicines and other regulated products to enhance evidence based regulatory decision to improve health outcomes.
·  To establish and enhance interactions between the pharmacovigilance and inspection inputs into PMS activities.
2.3 Management of PMS Process

The management team should be responsible for coordinating and managing the PMS activities, especially quality monitoring studies..
NMRAs should approve PMS study plan before it commences. Responsibilities and tasks of persons having key roles in the PMS study (e.g. survey coordinator, team leader in individual areas) are clearly outlined. There should be a clear communication link between the different departments within the NMRAs (PMS, Pharmacovigilance, Quality Control Laboratories, Inspection, Registration) and all other relevant stakeholders. 
In case of joint PMS exercise to be coordinated by WAHO in the West African region, NMRAs shall meet and approve a joint protocol before commencement of the exercise.

2.4 Execution of PMS Process:

Before the initiation of the program, the personnel heading the different aspect of the PMS activity shall meet and gain clear understanding of the responsibilities of the various steps from 2 to 14 such as sampling, product selection and handling, site selection, analysis, data collection and interpretation, data storage, and reporting of outcomes.
2.6. Training of personnel on requirements of PMS
· All personnel involved in distribution activities should be trained on the requirements of PMS. They

should have the appropriate experience and competence prior to commencing their tasks. Training should be based on NMRAs approved standard operating procedures (SOPs).


· Personnel should receive initial and continuing training relevant to their role, based on written procedures and in accordance with a written training program. The responsible person should also maintain their competence in PMS through regular training.


· In addition, training should include aspects of product security, as well as aspects of product identification, and the detection of counterfeits.

· Personnel dealing with any products which require more stringent handling conditions should receive specific training.
Examples of such products include hazardous products, radioactive materials, products presenting special risks of abuse (including 
narcotics and psychotropic substances), as well as time and temperature-sensitive products.


· A record of all training should be kept, and the effectiveness of training should be assessed and documented.
3.0 Performing a surveillance study
Prior to the initiation of a PMS study, the objective of the study must be clearly stated and the purposes must be detailed. The PMS study should address specific public health priority, quality assurance issues, and product quality issues. In the case of product quality, the target should include selected medicines available in the market in certain areas or regions at various levels of the distribution and supply chain. The study should recommend appropriate regulatory actions that address public health concern.
· Due to cost implications and need for proper funding, it is recommended that the planning should be developed and executed in collaboration with key stakeholders, such as, Public  Health programs, health facilities, donors, and development partners.
· There shall be a stakeholders meeting to discuss the results from the PMS study and proffer recommendations and follow up actions.
Areas to be considered during the planning stage of PMS study include the following:

i. The quality of target pharmaceutical product

The information may be sought in PV and inspection reports, scientific literature, alerts on medicines quality, and published studies through searches, e.g. in PubMed. It is important to gather information from inspectors, assessors, laboratory and pharmacovigilance experts and design the study with the   collaboration of a multidisciplinary team mentioned above.

ii. The distribution and supply system of the target medicines

In order to design the study properly it is important to understand how the target medicines are supplied in the surveillance area and how they reach patients. Knowledge of the distribution and supply chain of the target medicines enables risk-based selection of sampling sites best serving the study objectives. Complex supply chains pose higher risk of quality deterioration and should be prioritized in market surveillance activities. Information on distribution or supply chains should be available to NMRAs, and other relevant organizations.
iii. Health-seeking behavior for the target medicines

For some studies, it may be important to understand where different categories of patients tend to buy their medicines and what kind of product they buy. In many countries the medicines market is heavily segmented with different markets for people of different spending power. There will also be brands of the same product at different prices aimed at different market segments. If such information is needed, an initial pre-surveillance study should be performed.

iv. Patients’ exposure to the target pharmaceutical products
Medicines with high consumption volumes should be prioritized in market surveillance activities. It may be difficult to obtain exact consumption volumes in West African countries but some estimates based on distribution volumes or information from various disease control programs can be used.
v. Brands of the target pharmaceutical products available in the surveillance, identified areas or selected outlets.
If the objectives of the surveillance study require a wide picture of the quality of medicines available in the market, samples of medicines produced by as many manufacturers as possible should be collected. It is normally very difficult to know in advance how many brands of a specific medicine (containing the same API in the same dosage form) are sold on the market and what their market share is. A pilot study asking for a product list at the selling points may help to collect the data needed to better plan the study.

For correct understanding of all parties involved in the surveillance and proper interpretation of its results, any limitations during the study should be stated and explained.

Other aspects to include in the study are:
· The variables and end points that will be used to answer the surveillance questions e.g. Quality Parameters, etc

· The surveillance approach or methodology to be used

·  Sample size and units of observation 

· Source of data i.e. levels of data collection at various facilities etc.

· The data collection plan and tools 

·  Time line estimation of surveillance, what is the expected duration of the study

· All data analyses and statistical tests planned

· The content and timing of reports
· Publication /Dissemination of the report 
· Actions to be taken
3.1 Protocol for surveillance 
 Protocol for surveillance is a written detailed document that clearly outlines/describes how the surveillance should be carried out. In principle, the protocol should, contain information such as background and explanation of the study, study objectives and limitations and testing parameters.

3.2. Methodology
Sampling is the most critical part in a PMS activity as it determines the effectiveness of the study results. Biased sampling is a major cause of ineffective PMS study and may lead to inaccurate results and wrong recommendations. PMS results provide a feedback on the effectiveness of the QA system and may influence national policies as well as a direct impact on individuals and public health. Therefore, suitably developed methodology as well as efficient training of personnel involved in PMS activity is paramount. All SOPs and instructions necessary to execute the study should be made available to all personnel, and there should be evidence of clear understanding of these materials, processes and procedures. It is recommended that sound statistical approaches be used in sampling to make the sampling scientific and representative of the entire population of study.
Previous studies, if any, should be used as means to gather more information relevant to the study. Some examples of questions to be asked may include but not limited to:
· What percentage of sampled medicines failed quality testing?
· What quantity of sampled medicines failed quality testing at different levels of the regulated distribution

chain and in the informal market?

· What quantity/percentage of medicines sampled at different geographical regions failed quality testing?

· What quantity/percentage of samples of medicines produced in the West African region and samples of imported medicines failed quality testing?

· Which specific quality test does the selected medicines failed?

· Are any of the deficiencies critical, i.e. could they substantially affect treatment efficacy and/or cause

harm to patients?

· What is the registration status of sampled medicines and what percentage of registered and

unregistered medicines failed quality testing?

· What are the supply chains by which poor-quality medicines are distributed and what market segments

do they share?

· Are there any indicators of poor storage and distribution conditions which influence quality of sampled medicines?

· Are there poor-quality medicines in the selected area, border checkpoint, etc.?

· What is the proportion of poor-quality medicines being sold 
· Does the proportion of poor-quality medicines exceed a predetermined level (if any)?

· Has the quality changed for a medicine, or medicine category, or in an area (in case of repeated

random surveys with consistent design)?

· What action was taken from the previous observations or outcome?

· What was the impact of the observation or outcome on patients or population health?

· Was there a systematic evaluation of the previous issues, and how was it resolved?

· Is there a reporting mechanism to inform WAHO/WHO/Manufacturers, other relevant stakeholders and safety alert notice?
3.2.
1 Selection of sites for PMS study

Different geographical areas should be selected for PMS study unless the objectives explicitly justify targeting a specific area.  Samples should not be collected only in the capital city, as situations in rural and suburban areas are often very different. Depending on the study objectives, the following variables may be considered for selection of sites for PMS study: 
· Population density

· Incidence/prevalence of the disease for which the target medicines are indicated
· level of risk of poor-quality medicines, e.g. higher risk can be at trade routes across country borders, areas where poor-quality medicines have been previously found, areas where formal health services are limited, areas where NMRAs has little or no resources to monitor the distribution of medicines;

· Number of surrounding villages;

· Income level of the population in the target area; and

· Areas with complex distribution systems.

3.2.2
 Selection of pharmaceutical Products for PMS study
A risk based approach may be deployed to establish the rationale for the selection of medicines which may include: 
· Probability of occurrence of a quality problem, e.g. complexity of manufacturing process, stability etc.

· Exposure of patients to the medicine and seriousness of potential health hazards amongst others.

The selection criteria could include epidemiology, geographical, accessibility, QA issues, product specification, public health, enforcement, consumer complaints, pharmacovigilance and herbal products


The category of pharmaceutical products to be studied may be characterized to include the Content of APIs, Therapeutic group classification, Formulation, Specific program under which they are supplied, and the manufacturer or distributor declared on the label.
If collection of commonly used products is required, a pre-study investigation of treatment-seeking behavior may be necessary.
Working together with other sectors, such as, public health programs, the Ministry of Health, Health care program centers, and pharmacies may help to identify products used commonly.
3.2.3 Selection of sample collection sites
3.2.3.1 Types of sample collection sites

In West African region, there are various types of pharmaceutical outlets and these are classified as:

· Government health facilities
· Central Medical Store
· Medical Store(s) at all  geographical locations
·  Selected Health Facilities in urban and rural areas in the country such as primary, secondary, and
tertiary institutions.
·  Private health facilities (Hospitals/Clinics)

·  Manufacturers, importers and wholesalers
·  Retail Pharmacies
·  PPMVs
·  Non-governmental Organizations (NGOs)
The other type of classification for sample collection sites are based on the level of activity in the supply chain:

Level 1- Points of entry to the market, e.g. warehouses of importers or manufacturers, central medical stores, NGO central stores, procurement centers or other facilities supplied directly within various programs, central wholesalers/distributors;

Level 2- Pharmacies and other regulated retailers, dispensing facilities, hospitals, health centers, sub-health centers, district hospitals, clinics, treatment centers, health posts, community health workers;

Level 3- informal outlets selling medicines outside the approved distribution system, e.g. kiosks, street vendors, grocery shops, drug stores, patent stores.
 Sample collection should be performed in both the public and private sectors as well as in the "informal market" which includes unlicensed outlets. Types of sites for sample collection should be selected in a way to best serve the study objectives and the selection should be explained.

Quality of samples collected in the supply chain close to the point of sale to patients (Levels 2 and 3) may be influenced by distribution and storage conditions. If the medicines qualities are compromised due to degradation from distribution and storage problems, collection of additional samples of the same product at level 1 may highlight the bridge in the quality assurance system of supply chain management.

Samples collected at points of entry to the market (Level 1) may be less affected by storage and distribution conditions they may encounter during in-country distribution. Sampling at this point in the supply chain has the advantage of identifying the quality of products as supplied by manufacturers and detecting quality issues before the products reach patients. Corrective actions may be more easily put in place if the results are quickly available.

 Once the types of sample collection sites are selected, the areas/states/zones to be sampled need to be mapped by level. The sites where samples will be actually collected in the study should be identified according to address and type of facility. Good local knowledge of the distribution and supply chain is required. NMRAs should develop a list of the outlets where itinerant vendors or sellers buy their medicines.
3.2.4 Sentinel site monitoring

Sentinel site monitoring involves following the quality of medicines in a particular locality through time. There are no common rules as to whether these sites should be chosen on the basis of potentially important variables such as rural versus urban and private versus public outlets, or as to sampling design (i.e. convenience or random samples). The power of this methodology resides in allowing longitudinal changes to be followed in one place but data from fixed sentinel site monitoring should be interpreted with caution. Sentinel site monitoring suffers from the disadvantage that shop owners may soon realize that they are being sampled, change their behavior accordingly and thus are no longer representative.
3.2.5 Types of Sampling
Various sampling methods can be used for sample collection at study sites. The choice depends on the objectives of the study, the risks and consequences associated with inherent decision errors and biases and available resources. Some key points to remember during sampling as well as some sampling techniques are highlighted below:
· Samples are to be procured taken close to the point of use of the products 

· Samples are procured from importers, wholesalers, hospitals, clinics, and pharmacies as designed for the program. 

· Healthcare staff at sampling sites should be informed of sampling program and the reasons to enhance their cooperation.

· Sample collection forms should be completed at the time of sampling and should be signed by personnel on site. Information on sample collection form includes details of product name, product strength, pack size, batch number, expiry date, site of sampling, and storage conditions at sampling sites.

· SOP should be in place to ensure sampling of selected medicines.
3.2.5.1 Convenience sampling

 Convenience sampling is a non-probability sampling technique based on the judgment of the PMS study planner. The sites, however, should not be identified just because of their convenient accessibility and proximity. There should be defined rules guiding the selection to best reflect the study objectives. Whenever convenience sampling is used, it should be reported how the sites were identified and which types and proportion of the pharmaceutical outlets the selection represents.

 Convenience samplings are simple and do not necessarily need complete lists of outlets in defined areas which may be difficult to obtain especially for mobile outlets. However, they are inherently prone to biases which have to be considered when interpreting the survey outcomes. It is a technique predominantly used for selection of sample collection sites by, e.g. Medicine regulatory authorities. To utilize resources in a most efficient way NMRAs should focus on outlets where the risk of poor-quality medicines occurrence is high. When selecting sites, the risk analysis should consider the way of medicines distribution to the site, transport conditions, storage conditions, handling of products, experience of NMRAs with the distribution chain and sites.

 The results of convenience sampling cannot be generalized to other areas, even within the same country, or reliably interpreted over time. However, convenience samplings may provide the evidence to support regulatory actions or signal of a quality problem. If convenience sampling does indicate that a medicine has quality problem, further investigation or regulatory actions can be initiated. If a wider picture is needed, subsequent studies with probability sampling can be designed. If convenience sampling does not demonstrate a problem, one should bear in mind that this may be a false negative result. It is important to explain the limitations of this technique in reports and scientific papers.
3.2.5.3 Random sampling

Random sampling is a probability sampling technique that, with sufficient sample size, will give reliable estimates (with confidence intervals) of the prevalence of outlets selling poor quality medicines. Formulas for calculation of a sample size for random sampling can be found in the relevant literature. The disadvantages of random sampling are the large sample sizes needed, necessity of complete lists of the locations of the target outlets and the additional costs in labor and time. In addition, it is important to recognize that a random sampling will only produce reliable and useful information if the list of outlets and actual within-outlet sampling is in concordance with the primary aims of the study. For example, a random sampling of the quality of medicine in the private sector when most patients obtain this medicine in the public sector would not be useful, nor would random sampling using overt shoppers for a medicine which the outlet staff know should not be sold to patients. Comparisons with subsequent estimates using the same sampling method should be valid and will allow the evaluation of interventions.
3.2.5.4 Stratified Sampling
Stratified sampling is a probability sampling technique wherein the researcher divides the entire group of investigated subjects (e.g. outlets) into different subgroups (layers/strata), then randomly selects the final subjects proportionally from the different subgroups. Stratified sampling can be used to adjust for potential differences, e.g. sales volume, type of customers or geographical, trade and socioeconomic variables (such as rural versus urban, private versus public areas and one geographic area versus another) may be considered. Stratification requires adjustment of the sample size calculation. Sampling proportional to number of outlets will be more efficient compared to simple random sampling. It is important that the randomization procedure uses formal random number tables or statistical software. 
3.2.6 Sampling plans

Sampling plans should be prepared for each area/geographical zone involved in the survey and should be in compliance with requirements of the study protocol and must include:
· Individual sites where sample collectors should collect samples (by facility type and address, possibly including Global Positioning System (GPS) coordinates) 
· Medicines to be sampled (by APIs, dosage form, strength, and, if needed, also package size) 
· Minimum number of dosage units to be collected per sample
· Number of samples to be collected per medicine
· Total number of samples to be collected in the relevant area/states/zones
· All products that are to be sampled and rationale for selecting the products

·  Timeframe for sampling

· Defined, determined, and approved budget 

· Include and inform laboratories involved for planning purposes

· SOPs to address sampling plans
· Detailed instructions for sample collectors. 
3.2.6.1 Number of dosage units to be collected:
The number of dosage units that should be collected per sample depends on the study objectives, medicines selected for surveillance, tests to be conducted, testing methods to be employed and available resources. To protect integrity of samples and avoid quality deterioration before testing, dosage units should not be taken out of the original primary and secondary packaging. Only intact and unopened packages should be collected. Sampling plans normally define the minimum number of dosage units to be collected per sample, the available package sizes and the appropriate number of packages.

In PMS studies aiming to provide evidence to support regulatory actions, pharmacopoeial tests performed in compliance with pharmacopoeial procedures are commonly used. In such studies the principles of good practices for pharmaceutical quality control laboratories should be followed and the number of dosage units per sample should allow:

· Conducting the planned tests;

· Investigation and confirmatory testing for those found to be out-of-specification (OOS);

· Retention of samples to be used in case of dispute.

To fulfill these requirements, sufficient numbers of dosage units per sample should be collected as stated in the study protocol, which may be difficult to obtain in some outlets. It may also suggest to the outlet owner that the buyer is not an ordinary shopper in cases when the study objectives request a mystery- shopper approach. The minimum number of dosage units to be collected per each selected medicine should be agreed with the testing laboratory. The advantage of surveillance studies using pharmacopoeial/ compendial procedures is the ability to apply quality acceptance criteria as defined in pharmacopoeias. The disadvantage is rather time and resource demanding laboratory testing leading to lower numbers of samples which can be included in the study.
Other types of studies are quality screening surveillance studies using basic, simple tests, non-destructive techniques (such as Raman and infrared (IR) spectroscopy) or unofficial testing methods (non-pharmacopoeial) to assess the identity of the API and estimate its content. Such studies cannot be used as a basis for regulatory actions but may precipitate further investigations with appropriate protocols. The advantage is that only a few dosage units can be collected per sample, a higher number of samples can be collected and the mystery-shopper approach can be used, if needed. The disadvantage is that when testing only a few individual dosage units, usual pharmacopoeial quality acceptance criteria are difficult to apply, e.g. when estimating the content of the API by testing a few individual tablets only, Pharmacopoeial criteria for the assay cannot be used.
Sampling procedures ensuring that representative samples are taken by authorities, procurement agencies, manufacturers or consumers for acceptance of consignments, batch release testing, in-process controls, special controls, inspection for consumer clearance/ deterioration/adulteration or for obtaining a retention sample are described in the WHO Guidelines for Sampling of Pharmaceutical Products and Related materials. (TRS No. 929, 2005)
3.2.7 Sample collection
The team leader for each geographical zone will arrange for training of sample collectors to be familiar with the project, study protocol, sampling plan and instructions for collection of samples. Staff from NMRAs and the different public health programs may provide a useful insight into the surveillance study planning.

Data collection instructions and procedures should be well understood by the sample collectors. The following principles should be included in detailed instructions for sample collectors:

· Sample collectors should understand the written training procedures and should adhere to them.

· The minimum number of dosage units per sample and number of batches to be collected from each

collection site for each selected medicine as indicated in the sampling plan should be adhered to;

· The target medicines, their dosage forms, strengths, package sizes should be defined, as outlets may

have more than one brand of a particular medicine available, instructions should be provided on how to decide if a selection has to be made. It should be taken into consideration that mystery shoppers requesting a very specific brand or product may alert sellers. However, such an approach may be required if evidence suggests that only one brand of an essential medicine is affected by falsification or substandard production. It may be useful to consider using a specific written prescription for a number of items including the target medicine. This can reduce raising suspicion of a verbal request. Using the written prescription format may also enable studying the quality of dispensing, labelling directions and counseling;

· All units of one sample must be of the same batch number;

· The medicine samples should not be taken out of the original primary and secondary packaging (though removal from large size secondary packs is appropriate).Containers such as bottles and vials should not be opened. In cases where medicines are sold without package leaflets, or in unlabeled plastic bags coming from large sized boxes (locally repacked), or as individual dosage forms, this should be recorded;

· Ideally, samples collected should have at least six months remaining to expiry to allow sufficient time for chemical analysis except for products with not more than six months shelf life. However, the frequency of expired medicines is also an important outcome measure and any expired medicine found in the outlet should be recorded;

· The medicine labels and package leaflets should not be removed or damaged;

· Each sample should be recorded separately using the sample collection form (for an example see the Annex II). Whenever the required information is not available it should be indicated in the appropriate space on the sample collection form; any observed abnormalities should also be recorded;

· Each sample should be identified by a unique sample code, defined on the sample collection form and specified on all original packages belonging to the respective sample (legible and not covering the basic product information). The sample collection form and all packages belonging to one sample should be kept together (e.g. blisters inserted in a dedicated zip-lock plastic bag or envelope marked with the appropriate sample code and trade name of the product). For large surveys, bar-code systems may be helpful and reduce errors;

· When overt sampling is used, manufacturer’s batch certificates of analysis should be collected with samples, if available, and kept with the sample collection form;

· Storage conditions at the site (temperature, humidity, access of light, any other observation) should be described in the sample collection form. When overt sampling is used sample collectors can measure temperature if not controlled in the site. Mystery shoppers can observe and report on the environmental/Storage condition of the sample.
· Samples should be collected and kept under controlled conditions in line with the product label requirements. The cold chain has to be maintained, where required. Samples should be kept protected from light, excessive moisture or dryness. Safety measures against theft should be put in place; medicine boxes should be kept in a locked area.

 The time period, within which samples should be collected and the deadline for sending the last sample to the testing laboratory, should be clearly indicated in the procedures and followed.

Normally samples of collected medicines should be paid for by sample collectors. The exception to this is in case where there is approved written permission to take samples from any facility without payment. The cost of collected samples needs to be taken into account when determining the numbers of samples to be collected. 

Sample collectors should be mindful of the stock of sampled products in outlets, and potential difficulties of replenishment of sampled medicines through the supply chain, so as not to jeopardize the availability of these medicines to patients. If there is a risk of product shortage, after sampling, replacement of the sampled amount should be arranged immediately after the study, or, less desirably, collection of that particular product in that outlet should be omitted.

 In case of studies seeking the proportion of poor-quality medicines sold to patients, outlet product-specific sales volumes may be necessary. Collection of these data can be conducted after sampling, especially when the mystery-shopper approach is used, and sellers should be informed about the surveillance study. 

3.2.8 Sampling Tools/ Materials
Ziploc bags
Labels
Markers
Containers
Sample Collection forms
Hand disinfectant
Notebooks and pens

Masking Tapes
Coolers, Ice packs for collecting samples of temperature sensitive products

Others.
3.2.9 Overt sampling versus mystery-shopper approach

 The decision on who should collect samples will depend on the study objectives, regulatory status of the target medicines and what is known about the knowledge and attitude of sellers (whether he/she knows that the outlet is selling poor-quality medicines and understands the health, legal and ethical implications). If outlet staff are anxious to avoid poor-quality medicines and are informed about the study objectives, overt sampling with feedback would allow more data to be collected on poor-quality medicines and their risk factors and lead to direct improvement in the medicine supply. Overt sampling may be the only possible method in some circumstances, such as if samples are collected where people are seen first by clinicians or in the public sector.

There are instances where within a single outlet there will often be several different brands of the same medicine at different prices aimed at different market segments. In such cases a covert, mystery-shopper approach may be appropriate. The identity and purpose of the buyer should not be generally known by the outlet being evaluated. Sampling is done by an outsider as it may not be safe for people living in the same wider community to act as purchasers. In contrast, in some remote rural locations, it would be difficult for someone who is not local to request medicines as this would cause suspicion. The safety of those acting as mystery shoppers should be considered, the risk assessment performed and instructions appropriate to local conditions developed.

The mystery shopper mimics a “normal shopper” for the community in which the outlet is located and should dress, speak and behave appropriately for the community. They should use a standard scenario, e.g. pretending to be a visitor from another part of the country who needs some medicines for a specified disease, for a specific reason and for a stereotyped patient. The mystery shopper should be prepared to explain the real purpose of the visit to protect himself/herself in case that his/her identity is revealed. After leaving the surveillance place the mystery shopper should record details of the purchase. Price, name of the provider/outlet, observation of environmental/storage condition at the place should be documented as well as conditions of the purchase, e.g. how many people were in the outlet, how long it took, what was the interaction between the mystery shopper and outlet staff, was it easy to convince the provider to sell medicines, and other information requested by the study objectives. Collected medicines should be properly identified and stored, e.g. in a plastic bag labelled with the name of the outlet.

The mystery shopper should brief the team leader for the surveillance area after return from each outlet. The focal person should transcribe the reported interaction with translation as appropriate. Translators should use a meaning-based translation method, rather than a literal or interpretative approach. The original text with translation should be double-checked for accuracy by other members of the team and kept.
3.2.10 Storage and transportation of samples

 Storage and transportation of the samples to the testing laboratory should be done according to relevant Good Storage Practice and Good Distribution Practice guidelines. Handling of samples should be done as quickly and straight as possible so as not to jeopardize the quality of collected samples.

a) Storage and handling conditions of samples should comply with all national regulatory procedures.

b) Storage conditions for the pharmaceutical products to be sampled should be in compliance with the recommendations of the manufacturer.

c) Storage areas
 should
 be 
clean 
and 
free 
from 
accumulated 
waste 
and
 vermin. 
Sample 
collectors must 
ensure 
that
 premises
 and
 storage 
areas
 are 
cleaned 
regularly. 
d) There
 should 
also 
be
 a
 written 
program 
for pest 
control in sample storage areas. 
The
 pest
 control 
agents 
used
 should
 be 
safe 
and
 there 
should
 be 
no
 risk
 of
 contamination 
of sampled 
pharmaceutical 
products.
There
 should 
be 
appropriate 
procedures 
for 
the 
clean-up 
of 
any
 spillage
 to 
ensure
 complete 
removal 
of
 any 
risk 
of 
contamination of samples.
e) Receiving
 and
 dispatch 
bays 
should 
protect 
pharmaceutical
 products 
from
 adverse 
weather condition. 
Receiving
 areas 
should be designed and equipped to allow in coming samples to be cleaned if necessary before storage.
f) Medicines and other health product samples should be stored separately from other products likely to alter them and should be protected from the harmful effects of light, temperature, moisture and other external factors.

g)  Medicines and other health products should be handled and stored in such a manner as to prevent spillage, breakage, contamination, cross-contamination and mix-ups. 
· The samples should be kept in their original packaging and under storage conditions as specified on the label; freezing should be avoided and, where required, the cold chain should be retained.

· All samples should be packaged adequately and transported in such a way as to avoid breakage and contamination during transport. Any residual space in the container should be filled with a suitable material.

· In case of temperature-sensitive medicines, temperature data loggers may be included within shipments to document adequate temperature in prolonged transit.

· A covering letter, copies of sample collection forms and, if available, copies of manufacturer’s batch certificate of analysis should accompany the samples.

· In the case that sample collectors are not transporting samples directly to the testing laboratory, samples with the accompanying documents should be sent by a courier service or as determined by the PMS management team. For each shipment it should be clearly “indicated that samples are sent for laboratory testing purposes only, will not be used on humans or animals, have no commercial value and will not be placed on the market”. Copies of sample collection forms and, if available, copies of manufacturer’s batch certificates of analysis should also be sent to the survey coordinator or person preparing the survey report.

3.2.11 Normal storage conditions

Storage in dry, well-ventilated premises at temperatures of 15–25°C or, depending on climatic conditions, up to 30°C. Extraneous odors, other indications of contamination, and intense light must be excluded.

3.2.12 
Deﬁned storage instructions 

Drug products that must be stored under deﬁned conditions require appropriate storage instructions. Unless otherwise speciﬁcally stated (e.g. continuous maintenance of cold storage) deviation may be tolerated only during short-term interruptions, for example, during local transportation.

Freezing is defined as temperature thermostatically controlled between -25°C and -10°C.
Refrigeration is defined as temperature thermostatically controlled between 2°C and 8°C.
Cold Place is defined as temperature that does not exceed 8°C.
Warm is temperature between 30°C and 40°C.
Excessive heat is temperature above 40°C.
3.2.13 Interpretation of Labelling of Storage conditions:

Labelling includes all labels and other written, printed, or graphic material on the immediate container of the medicine or on any package or wrapper in which it is enclosed EXCEPT outer shipping container.

“Label” describes or refers to the labelling on the immediate container of the medicine.

The use of the following labelling instruction is recommended on the label: 
“Do not store over 30°C” means from +2°C to +30°C 

“Do not store over 25°C” means from +2°C to +25°C 

  “Do not store over 15°C” means from +2°C to +15°C

“Do not store over 8°C” means from +2°C to +8°C 

“Do not store below 8°C” means from +8°C to +25°C

Labelling which states “Protect from moisture” means the medicines or other health products should be stored in a container with not more than 60% relative humidity. The medicine or other health products should be provided to the patient in a moisture resistant container. 

Labelling which states “Protect from light” must have the medicines or other health products provided to the patient in a light-resistant container. 
3.2.14 Testing

 3.2.14.1 Testing Laboratory

It is important that for joint regional PMS, only quality control laboratories that are ISO/IEC 17025 accredited  or WHO pre- qualified laboratories, which demonstrate capability to produce reliable testing results of international repute and reproducibility, are used in PMS studies. The laboratory for testing should be carefully selected:
The laboratory works in compliance with WHO Good practices for pharmaceutical quality control laboratories (WHO TRS No. 957, 2010. Annex 1). Preferably a WHO prequalified laboratory or a laboratory where other evidence of equivalent working standards is available; Like ISO/IEC 17025 accredited laboratory.For NMRAs routine surveillance, NMRAs established laboratories or any other country level qualified laboratories should perform the testing.
· The laboratory is capable and competent to perform tests required by the testing protocol

· The laboratory has sufficient capacity and agrees to test the required number of samples within the specified period for the cost within the available budget.

 The choice of the testing laboratory should be explained in the study protocol. There can be one or more laboratories used for testing of samples collected in the surveillance study and this may depend on the number of samples. If more than one laboratory is involved in testing collected samples, samples should be divided among laboratories in a way that all samples containing the same APIs are assigned to one laboratory. The appropriate arrangement with the laboratory has to be made in advance. Within the usual selection procedure and the resulting agreement, the following should be clearly specified in addition to the usual elements of such agreements (such as test parameters, deadlines, financial arrangements etc.):

· Medicines and numbers of samples to be tested, tests to be conducted and specifications to be used according to the testing protocol. If there are more testing laboratories selected, a specific testing protocol should be prepared for each laboratory;

· Responsibilities of the laboratory during the study as specified in the protocol.
· Confidentiality declaration of the laboratory;

· Acceptance of a possible audit of the laboratory, access to records and retained samples.

Once an agreement is reached, the study coordinator should inform the focal persons participating in the study about the name and address of the laboratory, the contact person(s) in the laboratory and medicines assigned for testing to the particular laboratory. The laboratory normally starts testing only when all samples containing the same API in the same dosage form are received. Therefore, it is important to adhere to the deadline for sending samples to the testing laboratory.
3.2.14.2 Tests to be conducted
Laboratory testing of samples should be performed according to the testing protocol, which is a part of the study protocol, and should be agreed with the testing laboratory. Depending on the study objectives, target medicines and available resources, the tests to be applied to samples collected in the study may include:
· Verifying the identity;

· Performing complete pharmacopoeial or analogous testing;

· Performing special or specific tests.

In the case that testing should provide a full picture of the quality of target medicines, it should be performed according to a pharmacopoeial or analogous monograph and the following tests are, in principle, included:

· Appearance, visual inspection;

· Identity;

· Assay for APIs declared on the label;

· Test for related substances; impurities
· For solid dosage forms – dissolution or disintegration, uniformity of dosage units (by mass or content), fineness of dispersion in case of dispersible tablets;

· For liquid dosage forms – pH value and volume in containers/extractable volume and microbial limit test;

· For parenteral products – sterility and bacterial endotoxins tests.

Inclusion of uniformity of content for single-dose dosage forms, or sterility and bacterial endotoxins tests, which are costly, time demanding and need more dosage units to be collected, should be considered in relation to target medicines and available resources. It is impossible to achieve 100% certainty about sterility of the product through testing only. Inspections and enforcement of compliance with GMP principles may be more efficient tools for verification in some cases.

Packaging of each collected sample, labelling and package leaflets should be inspected visually for any signs of a substandard and falsified (SF) medical products.
Information on labels and in package leaflets can also be checked for quality and completeness of essential information and compliance with requirements and approved product information in West African region can be verified. 
Screening methods do not provide a full picture of the quality of medicines and may underestimate non-compliant findings in comparison with laboratory testing. However, they enable testing of large number of samples in the field, e.g. to search for SF medicines. It is recommended to verify outcomes of screening by laboratory testing, at least for a random selection of those samples that pass screening and for all those that fail.

3.2.14.3 Test methods and specifications

Test methods and specifications should be selected in a way to best meet the study objectives. In general, when samples from different manufacturers are collected within a PMS study, all samples containing the same APIs in the same dosage form are tested using the same method and specification to enable comparison of samples from different manufacturers. This specification is then used to decide on compliance or non-compliance of tested samples for the purposes of the PMS study. It should be noted that individual manufacturers may use different specifications and different methods for testing of their products.
Wherever they are appropriate, pharmacopoeial methods and specifications should be used.  In other cases of PMS study widely accepted pharmacopoeias (such as the International Pharmacopoeia, British Pharmacopoeia or United States Pharmacopeia) may be appropriate. In spite of efforts to harmonize pharmacopoeias there are still many differences. When a monograph for the particular medicine is available in more pharmacopoeias the ability of the respective methods and specifications to reveal quality problems should be considered and the monograph selected accordingly.

If no monograph for the target medicine exists in pharmacopoeias or the existing monographs do not provide for desired tests, a validated method of the laboratory or manufacturer’s method should be used.

 .

 3.2.14.4 Receipt and testing of samples by a testing laboratory

 When samples are received, the testing laboratory should:

· Inspect each sample to ensure that the labelling is in conformance with the information contained in the sample collection form or test request; an electronic databank (e.g. scanned pictures or photographs of the medicines, such as of the tablets, packaging, and package leaflet) is recommended; store the samples in line with the conditions on product labels, including compliance with any cold chain requirements;

· Conduct quality testing in line with the testing protocol and in compliance with Good Practices for Pharmaceutical Quality Control Laboratories, including investigation and documentation of each OOS result according to the laboratory SOP. If the OOS result is confirmed, it should be reported without delay to the surveillance study coordinator providing both results and investigation report;

· Complete analytical test reports/certificates of analysis containing information listed in Annex II. The study coordinator should define the format of the outcome (e.g. separately for each sample or as a tabulated report);

· Keep document/s received with samples, records of testing of each sample including all raw data and retention samples according to the requirements defined by the study coordinator (e.g. for at least six months if the sample complied with the specifications, or for at least one year or until the expiry date, whichever is longer, if it did not comply) and archive data according to the agreed conditions.

4.0 Data management and publication
 To allow proper interpretation of data obtained during collection and testing of samples, the data should be summarized and well-arranged in a database (using Excel sheets or software for epidemiological studies), linking each sample with all the gathered data and ensuring consistency and security. Any errors should be avoided. For analysis of large sets of data statistical software may be used. If relevant, personal identification of individuals who participated in the study (buyers, sellers, etc.) should be entered in the database using codes only.

NMRAs/WAHO should be informed forthwith about confirmed OOS results to be able to investigate in line with regulatory practice and legislation with the relevant manufacturer or other party. It should be kept in mind that testing methods would be in compliance with the compendia specification. Once the study results are compiled, evaluated and summarized, it is recommended that NMRAs/WAHO should hold a meeting with appropriate stakeholders to discuss the results and the actions needed before publication. 

 A detailed PMS report should be prepared including all testing results for collected samples. An example of the outline of the study report content is provided in Annex II. Recommendations for items to be addressed in reports of medicines quality studies can also be found in published literature.

· The report should be publicized as widely and openly as possible. The results should provide a feedback on the effectiveness of the QA system and may influence national/regional policies as well as have a direct impact on individuals and public health.
5.0 Evaluation of Results:
· The NMRAs/WAHO responsible for the PMS program and sampling plan should receive the results from the laboratory and advise on regulatory actions.  
· Each staff responsible for gathering data must summarize the data on the frequency from the PMS study. If there is no new data to report, this should be stated in the summary. If there is a large amount of similar data, it is acceptable to present a statistical analysis of that data.

· Additional PMS actions should be identified and followed up. This could involve inspections, further targeted sampling and analysis, or further laboratory analysis

· SOP should be in place for proper methods of evaluating results.

6.0 Report Preparation and Publication:
PMS reports are important regulatory tools for informed regulatory decisions on the quality of medicines in circulation on the market. The preparation and dissemination of PMS reports are therefore to be carried out with utmost care, including the following:
·  A detailed PMS report should be prepared. This process should involve all the NMRAs/WAHO involved in the planning, sampling, screening, analysis, and evaluation within the PMS program. 

· The report should be approved by NMRAs/WAHO and disseminated to stakeholders for comments.
· Report should be made available through the NMRAs/WAHO websites. 

· All relevant stakeholders should receive the report annually

References

1. Nigeria National Quality Assurance Policy (NQAP) 2015
2. Guidelines on Quality Control Testing of Antimalarial Medicines at NAFDAC ISO 17025 Accredited Laboratories

3. NAFDAC Act Cap NL LFN 2004
4. WHO guidelines for sampling of pharmaceutical products and related materials. (TRS No. 929, 2005)

5. NAFDAC GDP guidelines 2016

6. WHO Good practices for pharmaceutical quality control laboratories (WHO TRS No. 957, 2010. Annex 1
7. GHANA FDA/PQM Protocol 
	S/N
	Activity 
	Time line
	Responsible Person

	     1 
	Identification of study objective
	
	

	
	
	
	

	2
	Preparation of study protocol
	
	

	
	
	
	

	3
	Consultation with Relevant Authorities in   the West African countries
	
	

	4
	Selection of testing Laboratories 
	
	

	5
	Finalization of testing protocol in agreement with testing laboratories
	
	

	6
	Meeting held with focal persons from the target areas to discuss the study protocol
	
	

	7
	Preparation of detailed sampling plans
	
	

	8
	Preparation and pilot test of data collection instructions and procedures, if needed
	
	

	9
	Training and supervision of personnel collecting Samples
	
	

	10
	Collection of samples and transport to testing laboratories
	
	

	11
	Database of information on collected samples (including scanned pictures or photographs of the dosage form, label and package leaflet)
	
	

	12
	Testing of samples
	
	

	13
	Compilation of results
	
	

	14
	Data analysis
	
	

	15
	Report drafting
	
	

	16
	Meeting held with appropriate stakeholders to discuss the results and the actions needed
	
	

	17
	Report finalization
	
	

	18
	Printing, distribution and publication of the results
	
	


Annex I: Example of the plan of survey activities

Annex II: Sample collection Form

PMS Study Title: ………………………………………………

1. Sample code: Zone/State/Area/Facility/product/serial No (abbreviated name of each to 3 characters)

2. Name of monitoring site (Zone and State, LGA,):
3. Date of collection of sample:_____________________________________________
4. Name and address of collection site:_________________________________
Type of collection site /point:

	HEALTH FACILITY: LEVEL-I
	Public
	Private
	HEALTH FACILITY: LEVEL-II
	Urban
	Rural
	Public
	Private

	Manufacturing Outlets
	
	
	Hospitals
	Tertiary
	
	
	
	

	
	
	
	
	Secondary
	
	
	
	

	(Federal)/State Drug Distribution Centers (SDDCs)
	
	
	
	Primary
	
	
	
	

	Mega Drug Distribution Centers (MDDCs)
	
	
	
	Clinics
	
	
	
	

	Importers/Distributors
	
	
	Community Outlets
	Wholesale pharmacies
	
	
	
	

	
	
	
	
	Retail Pharmacies
	
	
	
	

	
	
	
	
	PPMVs
	
	
	
	


	SAMPLE INFORMATION

	Name of location/place where sample was taken
	

	Street address with telephone
	

	Date of sampling
	

	Trade or brand name sample
	

	Generic or INN8 name
	

	Dosage strength
	

	Manufacturer’s Batch or Lot Number
	

	Manufacturing date
	

	Expiry date
	

	NMRAs Registration or licensed number (if applicable)
	

	Purchase date (dd/mm/yy), if applicable
	

	Approximate length of time the sample being at this location.
	

	Manufacturer name and address
	

	Dosage form (e.g.ampoules, injection or tablets)
	

	Pack size (No of products per pack)
	

	Type of packaging material (primary containers such as strips, PVC or bottles)
	

	Indicate storage temperature per

manufacturer’s labeling and instructions
	

	􀀀Samples were stored in a refrigerated

condition which was:

􀀀specifically used for medicines and

vaccines

􀀀found appropriate (with temperature

monitor)

􀀀required defrosting

􀀀clean and cold


	􀀀Samples were not stored in refrigerated condition,

Please briefly described where and how the Medicine were stored at the facility during the sampling ………………………………………………………

……………………………………………………..

………………………………………………………

Reasons why the Medicines were not stored

in refrigerated condition:

􀀀No refrigerator

􀀀Don’t know that products should be kept in a

refrigerator

􀀀Other reason(s), please specify:

………………………………………………………

………………………………………………………

	Brief physical/visual description of sample
	

	GPS Coordinates of the location
	

	Name of collector(s)/date/sign


	1………………………………………………………….

2………………………………………………………….


Annex III: Content of the analytical test report/certificate of analysis

1. Name and address of the laboratory performing the sample testing.

2. Name and address of the originator of the request for testing.

3.  Number/code of the analytical test report/certificate of analysis.

4.  Sample reference number assigned by the laboratory and sample code assigned at the time of sampling (specified in the sample collection form and packages belonging to one sample).

5.  Date on which the sample was received.

6.  Name of the area/State/Zone/country where the sample was collected.

7.  Name of sample product (trade name as appears on the label), 

8. Dosage form, APIs, strength, package size (e.g. number of tablets in one blister and number of blisters in the secondary packaging, volume in one ampoule and number of ampoules in secondary packaging).

9.  Description of the sample (both description of the product and of primary and secondary packaging, type and packaging material of primary container); if there is any sign of bad handling during the transportation, it should be mentioned.

10.  Batch number of the sample, expiry date and, if available, manufacturing date.

11.  Quantity of units received for the sample.

12.  Name and full address of the manufacturer (as specified on the label or in the package leaflet).

13.  Reference to the specifications used for testing the sample, including the limits.

14.  In the case that a reference substance was used for quantitative determination, the substance should be specified (e.g. British Pharmacopoeia or United States of America Pharmacopeia reference substance or working standard).

15.  Results of all the tests performed; for the evaluation and interpretation of results it is useful to request numerical results wherever possible, any observation made during testing and the following details:

· Appearance

· uniformity, filling volume for individual units,

·  dissolution test, results for all tablets tested,

·  Assay for content of active ingredient (s) 

· Sterility test

· average and the relative standard deviation (RSD);

·  Is there OOS result 

16. Does its required retesting or the investigation reporting?
17. Date on which the test was completed.

18. Does the sample comply with the specifications set for the PMS study?

19. Signature of the head of the laboratory or authorized person.










Page 1 of 1

