                                                                            ANNEXURE -7 OOS PATHWAY















	Analyst A Pass
Analyst B Pass


	Analyst A Fail

Analyst B Fail
	Analyst A Pass

Analyst B  Fail
	Analyst A Fail

Analyst B Pass



Report Pass Result                      Report Fail Result
                                                                                                            Repeat Test (Analyst A & C) + Resample
	
Analyst A Pass
Analyst C Pass
	Analyst A Fails 

Analyst C Pass
	Analyst A Pass
Analyst C Fails
	Analyst A Fails

Analyst B fails


Report Pass Result                 Review Analyst A &  Report Pass  Result                        Report Fail Result                           Report Fail Result

OOS RESULT





Initial Result (Analyst A)





Fails





Non-Assignable Error





Assignable Error





Fail





Correct Error





Pass





Report Pass Result





Analyst & Supervisor Initial Check





Assignable cause (Obvious error) 





Non-Assignable Cause





Pass





Raise Notification Memo





Get OOS Investigation Form





Pass





Repeat Test (Analyst A & B)





Fail





Correct Error








