- Purpose:

To provide the requirements for preparing a Disaster Recovery Plan (DRP) that describes the processing of critical applications in the event of a data centre failure or catastrophic event.

- Scope:

This procedure applies to critical applications and their operating environments as defined in the Functional Requirements Specification for an application. The DRP must be followed in the event that the production computer environment becomes unavailable or inoperable.

- Responsibility:

The responsibilities for preparation and approval of a Disaster Recovery Plan are defined in SOP on Implementation Life Cycle. It is the responsibility of management of the Information Technology and Validation groups to ensure that this procedure is followed.

- Reference:

This SOP reference other documents such as SOP for Document standard, SOP for incident reporting, SOP for DRP and validation plan, Change control SOP

- Materials & Equipment:

Hardwares, Softwares, and other ICT infrastructrures

- Definitions/Abbreviations:

Disaster - An event where the production environment (computer room and hardware) is unavailable for an unacceptable length of time as defined in the Functional Requirement Specification.

Recovery - The process of continuing the application processing in another location. (i.e., Hot site, Cold site, etc.)

Restoration - The process of moving back to the company's restored facility.

Validation Group – the group responsible for ensuring that computer systems are implemented and maintained in a validated state.

IT Group – the group responsible for development, operation, and maintenance of computer systems.

DPR – Data Recovery

- Procedures:

Give the DR plan a descriptive title that uniquely identifies the system.

## Approval

At the beginning of the DR Plan an approval section is required. This section will contain a table for signatures. The table of signatures must provide for the following information to be captured:

- The department or function of the signatory;

- The name of the signatory;

- A space to record the signature, and;

- A space to record the date of the signature.

The section must contain a statement informing the reviewer that signing this document infers that they have read, understood and agree with the contents of the plan.

Normally this information is collected on the approval page of the plan.

## Critical Time Frames

The DRP should consider the time that would elapse after the interruption of data processing operations before the organization's critical functions would be interrupted. Additionally, the DRP should consider the time involved to restore the critical applications.

## Priorities

The DRP should provide for priorities in the re-establishment of the processing of critical applications. The following elements should be considered in establishing priorities:

- Nature and extent of a likely disaster

- The time that reasonably is expected to elapse before normal data processing operations are restored

- The potential loss to the organization if the processing of the application is not restored in a timely fashion

- The point at which normal cyclical processing operations might be interrupted.

- Relative priority to other application DRP's.

## Critical Resources

The DRP should identify the resources required to operate. This includes:

- people

- hardware and peripheral equipment

- the operating system and all systems and utility software

- network software

- applications programs

- data files

- forms

- documentation

- manuals

- vendors

- facilities

## Recovering Data Processing Capabilities

The DRP should describe the strategy (ies) for the recovery of data processing capability. The plan should address the following:

Recovery Hardware

The plan should address the arrangement for installing backup hardware in the Data Centre. The following issues should be addressed:

- The elapsed time between loss of capability and installation of hardware

- The criteria for concluding that the hardware to be installed is compatible with the current environment

- Requirements for peripheral equipment, software, telecommunications, etc.

Recovery Facility

The plan should address the arrangement for recovering the data processing capability to an alternate site should the facility (e.g., hot site, cold site) in the Data Centre become unavailable for an extended period. Included should be the following:

- The elapsed time between loss of the facility and the establishment of operations at the backup facility

- The criteria for concluding that the time availability and processing capability/capacity at the backup facility are appropriate

- Required hardware, software, telecommunications, office space, etc.

- Requirements for travel to the backup site

- Requirements for carrying out business at an alternate location (e.g., phone service, hotel Recommendations, office space, etc.)

- Alternate sources of supplies (e.g., required forms) in proximity to the backup facility.

- Any contracts or agreements with vendors should be described/referenced.

Recovery Data

The plan should address the programs and data required, identification of special programming or versions of programs that are required and the criteria for concluding that such software is usable should it be required

Recovery Procedures

The DRP should address the procedures to follow when implementing the plan. These procedures should consider the following:

- Criteria for determining that hardware/software failure and/or destruction of facilities requires implementation of this plan

- Notification of appropriate personnel and vendors/contractors (the plan should include home telephone numbers)

- Where the backup programs and files are located and who is authorized to retrieve them

- Procedures for retrieving stored programs, data files and documentation and reconstructing processing on backup hardware or at the backup facility (requirements for off-site storage of programs, data files and documentation as required in SOP for Backup and Archival” ).

- Where the backup site is and directions to get there

- Adequate security at the recovery facility

- Roles and responsibilities for implementing the various elements of the plan (e.g., declaring a disaster, re-establishing telecommunications services, making travel arrangements)

- Script of all activities in time / order sequence for recovery team.

Recovery Team Members

Identify all recovery teams, team members, and their roles.

## Restoration of the Data Processing Capabilities

The DRP should describe the strategy(ies) for restoring normal production operation. The plan should address the following:

Restoration Hardware

The plan should address the arrangement for restoring hardware in the Data Centre. The following issues should be considered:

- The elapsed time between loss of capability and installation of hardware

- The criteria for concluding that the hardware to be installed is compatible with the current environment

- Requirements for peripheral equipment, software, telecommunications, etc.

Restoration Facility

The plan should address the arrangement for recovering the data processing capability back to the restored facility. The following should be considered:

- The criteria for concluding that the time availability and processing capability/capacity at the restored facility are appropriate

- Required hardware, software, telecommunications, office space, etc.

- Requirements for travel to the backup site

- Requirements for restoring business from the backup location

- Any contracts or agreements with vendors should be described/referenced.

- Required permits (e.g., building permit) regarding reconstruction

- Location of pertinent building plans, engineering drawings, etc.

Restoration Data

The plan should address the programs and data required. Identification of special programming or versions of programs that are required and the criteria for concluding that such software is usable should it be required to restore the application to the operating environment.

Restoration Procedures

The DRP should address the procedures to follow when implementing the plan. These procedures should consider the following:

- Notification of appropriate personnel and vendors/contractors (the plan should include home telephone numbers)

- Where the backup programs and files are located and who is authorized to retrieve them

- Procedures for retrieving stored programs, data files and documentation and reconstructing processing on backup hardware or at the backup facility (requirements for off-site storage of programs, data files and documentation Roles and responsibilities for implementing the various elements of the plan (e.g.,declaring a disaster, re-establishing telecommunications services, making travel arrangements)

- Script of all activities in time/order sequence for restoration team.

Restoration Team Members

Identify all restoration teams, team members, and their roles.

# Testing the DRP

The DRP should establish a testing cycle. Although selected aspects (e.g., reconstruct operating system at the recovery facility) can be tested individually, the DRP should be tested in its entirety. Walk through tests are also acceptable means of testing plans. The tests should be designed to completely test the effectiveness of the DRP in restoring capability on recovery hardware in the Data Centre or a recovery facility. Testing the DRP should consider the following:

## Test Plan

Testing the DRP should be performed according to a test, which should include the following:

- Test objective (e.g., restore telecommunication capabilities, restore all critical applications at the recovery facility)

- Schedules

- Criteria for acceptance

- Written in script form in time / sequence order.

## Documentation of Test Results

The results of the DRP testing will be documented and retained. The documentation will consist of the following:

- Description of testing performed

- Summary of results

- Problems encountered and how the problems were resolved

- Required modifications to the DRP as a result of the testing

- Evidence of appropriate review and approval.

## Testing Team

Identify all Testing team members and their roles. Those having responsibilities in the actual DRP should participate in the testing process if possible.

8.4	Updating the DRP

The DRP should be reviewed annually and updated when changes are made to the hardware, data, facility, procedures or team members defined in the recovery and/or restoration DRP.

8.5	Storing DRP

A copy of the DRP should be stored in at least one location outside of the data centre. This copy should be easily accessible in the event that the Data Centre facility becomes off limits to the recovery team.

- Limitations:

| Key Limitations | Consequences | Control Measures |
| --- | --- | --- |

10.0   Associated Forms;

A1: 	Distribution Record;

A2:	Change/Revision history;

| Rev. No. | Effective date | Page No. | Reason for Change | Description of Change |
| --- | --- | --- | --- | --- |

A3:	List of Identified Officers to be trained on this SOP;